{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["诊断用生物制品申购单","Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"诊断用生物制品申购单","index":0,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,1]]}
["需求明细表（包二发热伴出疹症候群-诊断用生物制品）"]
["预算及最高限价：11.68万元"]
["序号","品名","参数","单位","数量","备注"]
[1,"致病菌识别网CHNSTRF药敏板","匹配赛默飞药敏仪Sensititre® ARIS 2X","份",30]
[2,"核酸提取或纯化试剂5","1、匹配圣湘提取仪Natch 96  2、预分装规格","人份",48]
[3,"发热伴出疹症候群核酸多重实时荧光PCR法检测试剂盒","1.适用于ABI Q5扩增仪或圣湘MA-6000 PCR仪；                             2.试剂总有效期不得低于10个月，到货时有效期不得低于总效期的50%；                                                                                  3.PCR-探针法；                                                                             4.检测目标包括以下病原：肠道病毒、麻疹病毒、风疹病毒、水痘-带状疱疹病毒、人疱疹病毒6型、伤寒沙门菌、副伤寒沙门菌、A族链球菌、回归热螺旋体、伯氏疏螺旋体和普氏立克次体        5.试剂为品牌1                                                                               6.因产品包装规格不同，实际采购数量可按需求上下浮动5%","人份",225,"全国发热伴出疹症候群监测使用（序号3和序号4需两种不同品牌）"]
[4,"发热伴出疹症候群核酸多重实时荧光PCR法检测试剂盒","1.适用于ABI Q5扩增仪或圣湘MA-6000 PCR仪；                             2.试剂总有效期不得低于10个月，到货时有效期不得低于总效期的50%；                                                                                  3.PCR-探针法；                                                                             4.检测目标包括以下病原：肠道病毒、麻疹病毒、风疹病毒、水痘-带状疱疹病毒、人疱疹病毒6型、伤寒沙门菌、副伤寒沙门菌、A族链球菌、回归热螺旋体、伯氏疏螺旋体和普氏立克次体        5.试剂为品牌2，品牌1与品牌2不一致                                         6.因产品包装规格不同，实际采购数量可按需求上下浮动5%","人份",225,"全国发热伴出疹症候群监测使用（序号3和序号4需两种不同品牌）"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}